# REQUEST FOR PROPOSAL

Emissions Monitoring & Reporting 2026

| Customer: | ConocoPhillips Skandinavia AS |
| --- | --- |
| Reference: | CON-2026-004 |
| Issue Date: | 21 January 2026 |
| Submission Deadline: | 18 February 2026, 12:00 CET |
| Questions Deadline: | 11 February 2026 |

CONFIDENTIAL - This document contains proprietary information and is intended solely for use by invited suppliers in connection with this tender process.

# Table of Contents

1. Introduction

2. Scope of Work

3. Technical Requirements

4. Compliance Requirements

5. Commercial Requirements

6. HSE Requirements

7. Support & Service Level Requirements

8. Delivery Requirements

9. Evaluation Criteria

10. Submission Instructions

Appendix A: Contact Information

# 1. Introduction

## 1.1 Purpose

ConocoPhillips Skandinavia AS hereby invites qualified suppliers to submit proposals for the Emissions Monitoring & Reporting 2026. This Request for Proposal (RFP) outlines our requirements and the evaluation criteria that will be used to assess submitted proposals.

## 1.2 Company Background

ConocoPhillips Skandinavia AS is a leading energy company operating on the Norwegian Continental Shelf. We are committed to safe, efficient, and sustainable operations through the adoption of innovative digital solutions.

## 1.3 Project Background

This procurement is part of our ongoing digital transformation initiative. The selected solution will be deployed across our operations to enhance efficiency, safety, and decision-making capabilities.

Estimated contract value: NOK 15,000,000 over 4 years.

# 2. Scope of Work

The supplier shall deliver a complete solution including software, implementation services, training, and ongoing support. The scope includes:

Software licenses for the proposed solution

Implementation and configuration services

Integration with existing systems

Data migration (if applicable)

User training and documentation

Ongoing support and maintenance

Future upgrades and enhancements

# 3. Technical Requirements

| Ref | Requirement | Priority | Compliance |
| --- | --- | --- | --- |
| REQ-001 | System shall support geofencing for location-based alerts. | NICE-TO-HAVE |  |
| REQ-002 | Solution must support edge computing with local data processing. | SHOULD |  |
| REQ-003 | System shall provide ML-based anomaly detection with configurable thresholds. | SHOULD |  |
| REQ-004 | API must support REST and GraphQL interfaces with OAuth 2.0 authentication. | MUST |  |
| REQ-005 | API documentation must follow OpenAPI 3.0 specification. | MUST |  |
| REQ-006 | Integration with SAP S/4HANA ERP system required for asset management. | MUST |  |
| REQ-007 | Solution must provide data lineage tracking for compliance reporting. | SHOULD |  |
| REQ-008 | Dashboard shall support customizable widgets and user-defined layouts. | SHOULD |  |
| REQ-009 | Dashboard shall render within 500ms for standard views. | SHOULD |  |
| REQ-010 | Solution shall support SSO integration with Azure AD/Entra ID. | MUST |  |
| REQ-011 | System shall support real-time data processing with latency under 200ms. | MUST |  |
| REQ-012 | Batch data import shall support files up to 1GB without timeout. | SHOULD |  |
| REQ-013 | System shall support configurable data retention policies per data type. | MUST |  |
| REQ-014 | Data compression ratio shall achieve minimum 70% for transmission. | NICE-TO-HAVE |  |
| REQ-015 | API rate limiting shall support minimum 500 requests per second. | SHOULD |  |
| REQ-016 | System shall support role-based access control with minimum 8 distinct roles. | MUST |  |
| REQ-017 | System shall support containerized deployment (Docker/Kubernetes). | SHOULD |  |
| REQ-018 | System shall support bulk operations for minimum 10000 records per request. | SHOULD |  |

# 4. Compliance Requirements

| Ref | Requirement | Priority | Compliance |
| --- | --- | --- | --- |
| REQ-019 | System shall maintain audit trail compliant with NPD requirements. | MUST |  |
| REQ-020 | System must comply with IEC 62443 industrial cybersecurity standards. | MUST |  |
| REQ-021 | System shall support data classification labeling per company standards. | SHOULD |  |
| REQ-022 | SOC 2 Type II compliance required or roadmap to achieve within 12 months. | SHOULD |  |
| REQ-023 | Data residency must support EU-only storage option. | MUST |  |
| REQ-024 | GDPR Article 28 compliant data processing agreement required. | MUST |  |
| REQ-025 | Solution must comply with NORSOK S-001 technical safety requirements. | MUST |  |
| REQ-026 | System shall meet NORSOK Z-015 requirements for temporary equipment. | MUST |  |
| REQ-027 | Solution shall support GDPR Article 17 right to erasure requirements. | MUST |  |

# 5. Commercial Requirements

| Ref | Requirement | Priority | Compliance |
| --- | --- | --- | --- |
| REQ-028 | Supplier shall provide reference pricing for similar-scale deployments. | SHOULD |  |
| REQ-029 | Currency shall be NOK with exchange rate protection clause. | SHOULD |  |
| REQ-030 | Pricing shall be fixed for initial contract term with annual CPI adjustment cap of 3%. | MUST |  |
| REQ-031 | No hidden costs - all fees must be disclosed in pricing schedule. | MUST |  |
| REQ-032 | Multi-year payment schedule option required. | SHOULD |  |
| REQ-033 | Payment terms: Net 60 days from invoice date. | MUST |  |
| REQ-034 | Contract term shall be 3 years with option for 1-year extension. | MUST |  |
| REQ-035 | Invoicing shall be monthly in arrears with detailed activity breakdown. | MUST |  |
| REQ-036 | Performance-based pricing component welcomed for SLA achievements. | NICE-TO-HAVE |  |

# 6. HSE Requirements

| Ref | Requirement | Priority | Compliance |
| --- | --- | --- | --- |
| REQ-037 | HSE dashboard shall provide leading and lagging indicator views. | SHOULD |  |
| REQ-038 | Integration with personnel tracking systems for muster/POB required. | SHOULD |  |
| REQ-039 | Real-time safety alerts must reach all relevant personnel within 60s. | MUST |  |
| REQ-040 | Environmental monitoring data shall be captured and reported. | MUST |  |
| REQ-041 | Near-miss reporting functionality required with trend analysis. | MUST |  |
| REQ-042 | Solution must support HSE incident reporting and tracking. | MUST |  |
| REQ-043 | Solution must track personnel certifications and training compliance. | SHOULD |  |

# 7. Support & Service Level Requirements

| Ref | Requirement | Priority | Compliance |
| --- | --- | --- | --- |
| REQ-044 | Support shall be available in Norwegian during business hours (08-16 CET). | MUST |  |
| REQ-045 | Change management process aligned with ITIL best practices. | SHOULD |  |
| REQ-046 | Escalation matrix must be provided with named contacts. | MUST |  |
| REQ-047 | Monthly support reports with ticket analysis required. | SHOULD |  |
| REQ-048 | Quarterly business reviews with performance reporting required. | SHOULD |  |
| REQ-049 | Release management with minimum 3 days notice for updates. | MUST |  |

## SLA Requirements

| Ref | Requirement | Priority | Compliance |
| --- | --- | --- | --- |
| REQ-050 | Disaster recovery test shall be conducted annually. | MUST |  |
| REQ-051 | Performance degradation alerts shall trigger within 5min. | MUST |  |
| REQ-052 | Monthly SLA reports with detailed downtime analysis required. | MUST |  |
| REQ-053 | Backup verification shall be performed daily and documented. | MUST |  |

# 8. Delivery Requirements

| Ref | Requirement | Priority | Compliance |
| --- | --- | --- | --- |
| REQ-054 | Knowledge transfer sessions for internal IT team required. | SHOULD |  |
| REQ-055 | Post-go-live hypercare period of 2 weeks. | MUST |  |
| REQ-056 | Change request process must be defined before implementation. | MUST |  |

## Training Requirements

| Ref | Requirement | Priority | Compliance |
| --- | --- | --- | --- |
| REQ-057 | Training environment with realistic data required. | MUST |  |
| REQ-058 | Refresher training available at no additional cost during contract. | SHOULD |  |
| REQ-059 | Training materials shall be provided in Norwegian and English. | MUST |  |

# 9. Evaluation Criteria

Proposals will be evaluated based on the following criteria:

| Criterion | Weight |
| --- | --- |
| Technical Solution & Functionality | 35% |
| Price & Commercial Terms | 30% |
| Supplier Experience & References | 20% |
| Support & Service Level | 15% |

The evaluation will be conducted by a cross-functional team including representatives from IT, Operations, Procurement, and relevant business units.

# 10. Submission Instructions

## 10.1 Proposal Format

The proposal shall include the following sections:

1. Executive Summary (max 2 pages)

2. Company Profile and Relevant Experience

3. Technical Solution Description

4. Compliance Matrix (using this document's requirement references)

5. Implementation Approach and Timeline

6. Pricing (using provided pricing template)

7. References (minimum 3 similar projects)

8. Draft Contract Terms and Conditions

## 10.2 Submission Details

Deadline: 18 February 2026, 12:00 CET

Submit electronically to: norway.procurement@conocophillips.com

Maximum file size: 50 MB

Accepted formats: PDF, DOCX

## 10.3 Questions

All questions must be submitted in writing to norway.procurement@conocophillips.com no later than 11 February 2026. Answers will be distributed to all invited suppliers.

# Appendix A: Contact Information

Primary Contact:

Sarah Williams

Supply Chain Manager

ConocoPhillips Skandinavia AS

Tananger, 4056 Stavanger, Norway

Email: norway.procurement@conocophillips.com

Phone: +47 52 02 30 00