# REQUEST FOR PROPOSAL

Offshore Monitoring Platform RFP 2026

| Customer: | Equinor ASA |
| --- | --- |
| Reference: | EQU-2026-001 |
| Issue Date: | 11 January 2026 |
| Submission Deadline: | 14 February 2026, 12:00 CET |
| Questions Deadline: | 07 February 2026 |

CONFIDENTIAL - This document contains proprietary information and is intended solely for use by invited suppliers in connection with this tender process.

# Table of Contents

1. Introduction

2. Scope of Work

3. Technical Requirements

4. Compliance Requirements

5. Commercial Requirements

6. HSE Requirements

7. Support & Service Level Requirements

8. Delivery Requirements

9. Evaluation Criteria

10. Submission Instructions

Appendix A: Contact Information

# 1. Introduction

## 1.1 Purpose

Equinor ASA hereby invites qualified suppliers to submit proposals for the Offshore Monitoring Platform RFP 2026. This Request for Proposal (RFP) outlines our requirements and the evaluation criteria that will be used to assess submitted proposals.

## 1.2 Company Background

Equinor ASA is a leading energy company operating on the Norwegian Continental Shelf. We are committed to safe, efficient, and sustainable operations through the adoption of innovative digital solutions.

## 1.3 Project Background

This procurement is part of our ongoing digital transformation initiative. The selected solution will be deployed across our operations to enhance efficiency, safety, and decision-making capabilities.

Estimated contract value: NOK 25,000,000 over 5 years.

# 2. Scope of Work

The supplier shall deliver a complete solution including software, implementation services, training, and ongoing support. The scope includes:

Software licenses for the proposed solution

Implementation and configuration services

Integration with existing systems

Data migration (if applicable)

User training and documentation

Ongoing support and maintenance

Future upgrades and enhancements

# 3. Technical Requirements

| Ref | Requirement | Priority | Compliance |
| --- | --- | --- | --- |
| REQ-001 | API rate limiting shall support minimum 1000 requests per second. | SHOULD |  |
| REQ-002 | Data compression ratio shall achieve minimum 60% for transmission. | NICE-TO-HAVE |  |
| REQ-003 | System shall support bulk operations for minimum 10000 records per request. | SHOULD |  |
| REQ-004 | System shall support containerized deployment (Docker/Kubernetes). | SHOULD |  |
| REQ-005 | Solution must support edge computing with local data processing. | SHOULD |  |
| REQ-006 | Dashboard shall render within 2000ms for standard views. | SHOULD |  |
| REQ-007 | System shall support configurable data retention policies per data type. | MUST |  |
| REQ-008 | System must provide comprehensive audit logging of all user actions. | MUST |  |
| REQ-009 | Dashboard shall support customizable widgets and user-defined layouts. | SHOULD |  |
| REQ-010 | Real-time alerting must support email, SMS, and push notification channels. | MUST |  |
| REQ-011 | System shall support role-based access control with minimum 5 distinct roles. | MUST |  |
| REQ-012 | System shall support geofencing for location-based alerts. | NICE-TO-HAVE |  |
| REQ-013 | Offline functionality required with automatic sync when connectivity restored. | SHOULD |  |
| REQ-014 | Export functionality to Excel, PDF, and CSV formats required. | SHOULD |  |
| REQ-015 | Batch data import shall support files up to 10GB without timeout. | SHOULD |  |
| REQ-016 | Solution must handle minimum 1632 concurrent sensor data streams. | MUST |  |
| REQ-017 | Solution shall integrate with SAP using standard protocols. | MUST |  |
| REQ-018 | Solution must provide data validation and quality scoring on input. | SHOULD |  |
| REQ-019 | Integration with Microsoft Dynamics ERP system required for asset management. | MUST |  |

# 4. Compliance Requirements

| Ref | Requirement | Priority | Compliance |
| --- | --- | --- | --- |
| REQ-020 | GDPR Article 28 compliant data processing agreement required. | MUST |  |
| REQ-021 | Vulnerability management process must address critical CVEs within 7 days. | MUST |  |
| REQ-022 | ISO 14001:2015 environmental management certification required. | SHOULD |  |
| REQ-023 | ISO 27001:2022 information security certification required. | MUST |  |
| REQ-024 | Supplier shall provide evidence of secure development lifecycle (SDLC). | MUST |  |
| REQ-025 | Annual third-party penetration testing required with remediation SLA. | MUST |  |
| REQ-026 | SOC 2 Type II compliance required or roadmap to achieve within 12 months. | SHOULD |  |
| REQ-027 | Solution must comply with NORSOK S-001 technical safety requirements. | MUST |  |
| REQ-028 | Data residency must support EU-only storage option. | MUST |  |

# 5. Commercial Requirements

| Ref | Requirement | Priority | Compliance |
| --- | --- | --- | --- |
| REQ-029 | Contract term shall be 5 years with option for 3-year extension. | MUST |  |
| REQ-030 | Supplier shall provide detailed cost breakdown by component. | MUST |  |
| REQ-031 | Performance-based pricing component welcomed for SLA achievements. | NICE-TO-HAVE |  |
| REQ-032 | Invoicing shall be monthly in arrears with detailed activity breakdown. | MUST |  |
| REQ-033 | Multi-year payment schedule option required. | SHOULD |  |
| REQ-034 | Supplier shall provide reference pricing for similar-scale deployments. | SHOULD |  |
| REQ-035 | Early termination clause with 3 months notice required. | MUST |  |
| REQ-036 | License model shall be perpetual/subscription with clear exit terms. | MUST |  |
| REQ-037 | Pricing shall be fixed for initial contract term with annual CPI adjustment cap of 2%. | MUST |  |

# 6. HSE Requirements

| Ref | Requirement | Priority | Compliance |
| --- | --- | --- | --- |
| REQ-038 | System shall support emergency response coordination features. | SHOULD |  |
| REQ-039 | Solution must support HSE incident reporting and tracking. | MUST |  |
| REQ-040 | Solution must track personnel certifications and training compliance. | SHOULD |  |
| REQ-041 | System shall integrate with company HSE management platform. | MUST |  |
| REQ-042 | System shall support toolbox talk documentation and sign-off. | NICE-TO-HAVE |  |
| REQ-043 | Near-miss reporting functionality required with trend analysis. | MUST |  |
| REQ-044 | Solution must support permit-to-work electronic workflows. | SHOULD |  |

# 7. Support & Service Level Requirements

| Ref | Requirement | Priority | Compliance |
| --- | --- | --- | --- |
| REQ-045 | Escalation matrix must be provided with named contacts. | MUST |  |
| REQ-046 | Change management process aligned with ITIL best practices. | SHOULD |  |
| REQ-047 | Monthly support reports with ticket analysis required. | SHOULD |  |
| REQ-048 | Dedicated account manager required for contract duration. | MUST |  |
| REQ-049 | Quarterly business reviews with performance reporting required. | SHOULD |  |
| REQ-050 | On-site support shall be available within 4 hours for critical issues. | MUST |  |

## SLA Requirements

| Ref | Requirement | Priority | Compliance |
| --- | --- | --- | --- |
| REQ-051 | Disaster recovery test shall be conducted annually. | MUST |  |
| REQ-052 | Performance degradation alerts shall trigger within 5min. | MUST |  |
| REQ-053 | Backup verification shall be performed daily and documented. | MUST |  |
| REQ-054 | Recovery Point Objective (RPO) shall not exceed 24 hours. | MUST |  |
| REQ-055 | SLA credits shall apply for availability below target. | SHOULD |  |

# 8. Delivery Requirements

| Ref | Requirement | Priority | Compliance |
| --- | --- | --- | --- |
| REQ-056 | Detailed project plan with milestones required within 21 days. | MUST |  |
| REQ-057 | Training shall be completed before go-live for all user groups. | MUST |  |
| REQ-058 | Knowledge transfer sessions for internal IT team required. | SHOULD |  |

## Training Requirements

| Ref | Requirement | Priority | Compliance |
| --- | --- | --- | --- |
| REQ-059 | Train-the-trainer program for internal capability building. | SHOULD |  |
| REQ-060 | Training effectiveness assessment required post-delivery. | SHOULD |  |
| REQ-061 | Administrator training shall be minimum 5 days. | MUST |  |

# 9. Evaluation Criteria

Proposals will be evaluated based on the following criteria:

| Criterion | Weight |
| --- | --- |
| Technical Solution & Functionality | 35% |
| Price & Commercial Terms | 30% |
| Supplier Experience & References | 20% |
| Support & Service Level | 15% |

The evaluation will be conducted by a cross-functional team including representatives from IT, Operations, Procurement, and relevant business units.

# 10. Submission Instructions

## 10.1 Proposal Format

The proposal shall include the following sections:

1. Executive Summary (max 2 pages)

2. Company Profile and Relevant Experience

3. Technical Solution Description

4. Compliance Matrix (using this document's requirement references)

5. Implementation Approach and Timeline

6. Pricing (using provided pricing template)

7. References (minimum 3 similar projects)

8. Draft Contract Terms and Conditions

## 10.2 Submission Details

Deadline: 14 February 2026, 12:00 CET

Submit electronically to: procurement@equinor.com

Maximum file size: 50 MB

Accepted formats: PDF, DOCX

## 10.3 Questions

All questions must be submitted in writing to procurement@equinor.com no later than 07 February 2026. Answers will be distributed to all invited suppliers.

# Appendix A: Contact Information

Primary Contact:

Knut Erik Andersen

Senior Procurement Advisor

Equinor ASA

Forusbeen 50, 4035 Stavanger, Norway

Email: procurement@equinor.com

Phone: +47 51 99 00 00